CERTIFICATE OF Va
SEISMIC PERFORMANCE RATING DETERMINATION

☐ UC-Designed & Constructed Facility

☐ Campus-Acquired or Leased Facility

BUILDING DATA

Building Name: {  }

Address: {  }

Site location coordinates: Latitude {###.####} Longitudinal {###.####}

SEISMIC PERFORMANCE RATING DETERMINATION: {  }

ASCE/SEI 41-23 Model Building Type:

- Longitudinal Direction: {e.g., S4: Steel Frame with Concrete Shear Walls}

- Transverse Direction: {e.g., S4: Steel Frame with Concrete Shear Walls}

Gross Square Footage: {  }

Number of stories above grade: {  }

Number of basement stories below grade: {  }

Year Original Building was Constructed: {e.g., 2012}

Original Building Design Code & Year: {e.g., CBC-2010}

Retrofit Building Design Code & Code (if applicable): {Year of Retrofit}, {Design Code Year (e.g., CBC-2007)}

SITE INFORMATION

Site Class: {i.e., A - F}	Basis: ({Company}, {Report Date}, {Reference Page No.})

Geologic Hazards:

Fault Rupture: {Yes, No or Unknown}	Basis:  {  }

Liquefaction: {Yes, No or Unknown}	Basis:  {  }

Landslide: {Yes, No or Unknown}	Basis:  {  }

ATTACHMENT

Seismic Evaluation: ({Evaluation Name}, {Structural Engineer}, {Date}, {Evaluation Standard/Type})

Original Structural Drawings: ({Drawing Name}, {Structural Engineer}, {Date}, {Sheet Number [General Notes of Structural Sheet showing Code Design Year]}) or

Retrofit Structural Drawings: ({Drawing Name}, {Structural Engineer}, {Date}, {Sheet Number [General Notes of Structural Sheet showing Code Design Year]})

CERTIFICATION & PRESUMPTIVE RATING VERIFICATION STATEMENT

I, {                                                           }, a California-licensed structural engineer, am responsible for the completion of this certificate, and I have no ownership interest in the property identified above. My scope of review to support the completion of this certificate included all of the following (“No” responses must include an explanation):

- the review of structural drawings indicating that they are as-built or record drawings, or that they otherwise are the basis for the construction of the building: ☐ Yes  ☐ No

- visiting the building to verify the observable existing conditions are reasonably consistent with those shown on the structural drawings: ☐ Yes  ☐ No

- reviewing the ASCE/SEI 41-23 Tier 1 or Tier 2 seismic evaluation report: ☐ Yes  ☐ No

Step 1:  Document seismic evaluation report and its Seismic Performance Rating.

- ASCE/SEI 41-23 Tier 1 Evaluation: {  }

- ASCE/SEI 41-23 Tier 2 Evaluation: {  }

- Other comparable Evaluation: {  }

- Seismic Performance Rating per evaluation: {  }

Step 2: Confirm the building is eligible for the Va procedure.  The building must be either a Risk Category I, II, or III structure.

- The building is Risk Category I, II, III: {  }

Step 3: Identify if the building has any of the following features which preliminarily remove the building from possible Va status.  See attached Table 1 for details.  Indicate Yes or No for each entry.  Provide explanation as needed.

- All

  - Significant deterioration or damage: {  }

  - Significant load path deficiency: {  }

- W1/W2

  - On a slope with a grade change of more than one-half story and the seismic force-resisting system on the downslope side is not a wood shear wall (unless the bottom story uses concrete shear walls, and they meet the Tier 1 Quick Check requirements): {  }

  - On a slope with a grade change of more than one-half story and poor strength on the downslope side: {  }

  - Extreme weak ground story: {  }

- S1

  - Pre-Northridge moment frame and Strong Column-Weak Beam (SCWB) provisions not met: {  }

  - Pre-Northridge moment frame and the site is within 5 km of the closest edge of an Alquist-Priolo Zone: {  }

- S2/S2a:

  - ASCE/SEI 41-23 Tier 1 S2/S2a Collapse Prevention Structural Checklist Low Seismicity “Redundancy” evaluation statement is Noncompliant, and the building does not have a complete steel framed vertical load-carrying system: {  }

  - Extreme weak story: {  }

- S3: Unusual feature that could lead to the building having an appreciable life hazard in a major seismic disturbance: {  }

- S4: Extreme weak story: {  }

- S5/S5a: Extreme weak story: {  }

- C1

  - Extreme weak story: {  }

  - ASCE/SEI 41-23 Tier 1 SCWB provisions not met: {  }

  - The seismic force-resisting system is a frame consisting of columns and a flat slab or flat plate without beams: {  }

  - ASCE/SEI 41-23 Tier 1 “Captive Column” evaluation statement criterion is Noncompliant: {  }

- C2/C2a

  - Extreme weak story: {  }

  - Shear wall ASCE/SEI 41-23 Tier 1 Quick Check demand-to-capacity ratios over 1.5 in either principal direction and the ASCE/SEI 41-23 Tier 1 torsion evaluation statement criterion is not met: {  }

  - Shear wall ASCE/SEI 41-23 Tier 1 Quick Check demand-to-capacity ratios over 1.75 in either principal direction and the ASCE/SEI 41-23 Tier 1 torsion evaluation statement criterion is met: {  }

  - In a C2a building, wall-to-diaphragm connections that (a) rely on cross grain bending, (b) use strap anchors that twist and connect to the side of the top of purlins, or (c) are other connections with an ASCE/SEI 41-23 Tier 2 demand-to-capacity ratio over 1.6: {  }

- C3/C3a

  - Extreme weak story: {  }

  - In a C3a building, wall-to-diaphragm connections that (a) rely on cross grain bending, (b) use strap anchors that twist and connect to the side of the top of purlins, or (c) are other connections with an ASCE/SEI 41-23 Tier 2 demand-to-capacity ratio over 1.6: {  }

  - Does not meet the ASCE/SEI 41-23 Tier 1 C3/C3a Collapse Prevention Structural Checklist Low and Moderate “Shear Stress Check” evaluation statements (for reinforced masonry or unreinforced masonry as applicable): {  }

- PC1/RM1

  - Extreme weak story: {  }

  - Wall-to-diaphragm connections that (a) rely on cross grain bending, (b) use strap anchors that twist and connect to the side of the top of purlins, or (c) are other connections with an ASCE/SEI 41-23 Tier 2 demand-to-capacity ratio over 1.6: {  }

- RM2

  - Extreme weak story: {  }

  - Lack of positive out-of-plane wall-to-diaphragm connection capacity: {  }

- URM/URMa:

  - Unretrofitted or partially retrofitted: {  }

  - Not evaluated and retrofit to the Special Procedure or the General Procedure of the ABK, Los Angeles Division 88, UCBC, IEBC; ASCE/SEI 41 Special Procedure for Unreinforced Masonry standard; or a similar standard: {  }

Step 4: Document geological hazard status and potential mitigating features.  If the site is located in a mapped Seismic Hazard Zone for surface fault rupture, liquefaction, or landslides, or a geologic hazard is present and there are no sufficiently mitigating features, the building is not eligible for a Va rating.

- Site is located in a mapped Seismic Hazard Zone: {  }

- Site is not located in a mapped Seismic Hazard Zone, but the site has or is assumed to have a geological hazard: {  }

- Though site is located in a mapped Seismic Hazard Zone or a geological hazard is present, features are present to mitigate the hazard: {  }

Step 5: Document significant potential falling hazards.  Buildings with the following features shall not be assigned to the Va category.

- Unbraced parapet over exit path: {  }

- Unbraced gable wall over exit path: {  }

Step 6:  Apply engineering judgment to make a final proposed of Va when warranted.  For example, substantial strength or redundancy could be a mitigating factor for some of the deficiencies in Step 3 above.  There could be other features that also mitigate risk that are not typical but should be considered in the categorization on a building specific basis.  Similarly, there may be project specific deficiencies of significance not identified in Step 3 that would downgrade a preliminary Va assignment to a final V assignment.

- Features which mitigate preliminary V assignment: {  }

- Features which downgrade preliminary Va assignment: {  }

Step 7: Complete draft version of this UCOP Certificate of Va Seismic Performance Rating Determination.

Step 8: Confirm the Va assignment with review by a peer reviewer or a campus seismic review committee. If the CSE and the peer reviewer/campus seismic review committee do not agree, the UC SAB can be consulted to make the final resolution.  During the peer review process, the peer reviewer should review the original report, and Noncompliant ASCE/SEI 41-23 statements should be discussed with the CSE.  The importance of Noncompliant statements varies, and the features leading to some Noncompliant statements may not necessarily have a significant impact on the likelihood of collapse.

- Peer review completed by CSE (provide name): {  }

- Peer review completed by campus seismic review committee (provide name): {  }

Step 9: Provide final stamped documentation of the Va rating and the supporting rationale.  This will be an update, as needed, of the preliminary documentation in Step 7 that incorporates any revisions following peer review, identifies the peer reviewer or seismic review committee, and includes the statement that the peer reviewer or seismic review committee was in agreement with the categorization.

- Final categorization: Va {  }     V {  }

CERTIFICATION SIGNATURE

|  |  |  | AFFIX SEAL HERE |
| --- | --- | --- | --- |
| Print Name |  | Title |  |
| CA Professional Registration No. |  | License Expiration Date |  |
| Signature |  | Date |  |
| Firm Name, Phone Number, and Address |  |  |  |

| Table 1: Features that Preliminarily Remove the Building from Possible Va Status |  |  |
| --- | --- | --- |
| ASCE/SEI 41-23 Common Building Type | Description | Feature/Discussion |
| All | Significant Deterioration or Damage | Tier 1 on-site evaluation per ASCE/SEI 41-23 Section 4.2.1 and Table 4-1 finds construction defects, damage, or deterioration that would have a significant effect on seismic performance. |
| All | Significant Load Path Deficiency | Tier 1 drawing review or on-site evaluation per ASCE/SEI 41-23 finds a significant load path deficiency, in either an unretrofitted building or a retrofitted building, such as an incomplete retrofit where connections between the diaphragm and the vertical elements of the lateral force-resisting system are missing. |
| W1/W2 | Wood frame | The building has one or more of the following features: - It is on a slope with a grade change of more than one-half story within the building footprint and the seismic force-resisting system on the downslope side is not wood shear wall (unless the bottom story uses concrete shear walls, and they meet the Tier 1 Quick Check requirements). This is considered too complicated to apply the Va procedure. - It is on a slope with a grade change of more than one-half story within the building footprint and poor strength on the downslope side wood shear walls. These include “hillside homes,” many of which had severe damage or collapsed in the 1994 Northridge Earthquake. Poor strength resistance in this context goes beyond the ASCE/SEI 41-23 Tier 1 W1 and W2 Collapse Prevention Structural checklist definition of a hillside site where a noncompliant statement requires all walls on the downhill side to have a vertical-to-horizontal aspect ratio of more than 1-to-1. Poor strength resistance on the downslope side here is defined as (1) an overall sum of wall lengths less than half the sum of the wall length of the parallel upslope walls (when upslope walls at the lowest story are present) or (2) shear stress Quick Check of the seismic force-resisting system on downslope wall line with less than 50% of the required capacity, assuming tributary area distribution to the downslope line. - It has an extreme weak ground story: These include tuck under buildings which collapsed and caused fatalities in the 1994 Northridge Earthquake. A comparative threshold such as an extreme weak story irregularity could be used. ASCE/SEI 7-16 uses 65% of the strength of the story above for its definition of extreme weak story. For consistency, the same definition is used here. This is less restrictive than the ASCE/SEI 41-23 Tier 1 Collapse Prevention Basic Configuration Checklist criteria of 80%. |
| S1/S1a | Steel moment frames | The building has Pre-Northridge moment frame details plus one of the following features: - Failure of Tier 1 or Tier 2 strong column-weak beam (SCWB) requirements. - The site is in a location where strong impulsive ground motions are anticipated, defined as within 5 km of the closest edge of an Alquist-Priolo Zone. These buildings, while damaged in the 1989 Loma Prieta and 1994 Northridge Earthquakes, have not collapsed. However, it can be argued that they have not experienced design earthquake level shaking, so the lack of observed collapses does not necessarily indicate a lack of vulnerability. Having a Pre-Northridge connection is not sufficient to move a building out of the Va category (or potentially even from SPR=IV to V), but when coupled with a potential concerning weak column-strong beam (WCSB) story mechanism or impulsive ground motions, this is not permitted. |
| S2/S2a | Steel braced frames | The building has one of the following features: - It does not meet the ASCE/SEI 41-23 Tier 1 S2/S2a Collapse Prevention Structural Checklist Low Seismicity “Redundancy” evaluation statement (i.e., the number of lines of braced frames in each principal direction is not greater than or equal to 2) and the building does not have a complete steel framed vertical load-carrying system. A concern with steel braced frames is that they are expected to be particularly sensitive to a lack of redundancy. - The building has an extreme weak story deficiency, as defined above for W1/W2 buildings. An extreme weak story would be an unusual, but concerning, feature in a braced frame building, increasing the likelihood of a story mechanism and potential collapse. |
| S3 | Metal building frames | Typically, given their historically adequate performance in earthquakes, these buildings would be assigned to the Va category, unless they have very unusual features, such as heavy cladding such as concrete or masonry, or if braces have been removed or cut. Note that S3 buildings only include one-story structures, with or without a mezzanine. |
| S4 | Dual system with backup moment frame | This is a relatively unusual building type with steel gravity framing, a backup steel moment frame design to resist 25% of the seismic desire forces, and a primary system of either steel braced frames or concrete shear walls. Typically, these buildings would be assigned to the Va category unless they have an unusual feature, like an extreme weak story, as defined above for W1/W2 buildings. |
| S5/S5a | Steel frame with infill masonry | Extreme weak story, as defined above for W1/W2 buildings. Steel frame infill buildings are rarer than concrete frame infill buildings, and steel frame infill buildings have typically performed better than concrete frame infill buildings. Steel frame infill buildings would likely be assigned to the Va category unless they have an extreme weak story, as defined above for W1/W2 buildings. |
| C1 | Concrete moment frames | The building has one of the following features: - It has an extreme weak story, as defined above for W1/W2 buildings. - It does not meet the Tier 1 or Tier 2 strong column-weak beam requirements. - The seismic force-resisting system is a frame consisting of columns and a flab slab or plate without beams. - It does not meet the Tier 1 captive column evaluation statement criterion. Pure C1 buildings are relatively rare, so empirical evidence is limited. However, older concrete moment frames with these characteristics are at risk of a brittle story mechanism and are not eligible for the Va rating. Note that the C1 building type is presumed to only have moment frames as the seismic force-resisting system, and not have infill frames (which would be C3/C3a infills) or small walls (which would be C2). |
| C2/C2a | Concrete shear walls | The building has one of the following features - Extreme weak story, as defined above for W1/W2 buildings. - Shear wall Tier 1 Quick Check demand-to-capacity ratios over 1.5 in either principal direction and the Tier 1 torsion evaluation statement criterion is not met. - Shear wall Tier 1 Quick Check demand-to-capacity ratios over 1.75 in either principal direction and the Tier 1 torsion evaluation statement criterion is met. - In a C2a building, wall-to-diaphragm connections that (a) rely on cross grain bending, (b) use strap anchors that twist and connect to the side of the top of purlins, or (c) are other connections with a Tier 2 demand-to-capacity ratio over 1.6. This is one of the most common and most challenging building types to evaluate. The ATC-78 project focused on this building type and led to FEMA P-2018. Its evaluation method is not consistent, though, with the ASCE/SEI 41-23 and UC Seismic Performance Rating framework. Buildings with extreme weak stories, high shear wall demands and cross grain or other poor wall-to-diaphragm connections (in a C2a building) pose a potential risk of collapse. |
| C3/C3a | Concrete frame with infill masonry | The building has one of the following features: - Extreme weak story, as defined above for W1/W2 buildings. Weak story non-ductile concrete infill buildings have collapsed in many earthquakes. - In a C3a building, wall-to-diaphragm connections that (a) rely on cross-grain bending, (b) use strap anchors that twist and connect to the side of the top of purlins, or (c) are other connections with a Tier 2 demand-to-capacity ratio over 1.6. - It does not meet the ASCE/SEI 41-23 Tier 1 C3/C3a Collapse Prevention Structural Checklist Low and Moderate “Shear Stress Check” evaluation statements (for reinforced masonry or unreinforced masonry as applicable). |
| PC1/RM1 | Tilt-up and reinforced masonry with flexible diaphragms | The building has one of the following features: - Extreme weak story, as defined above for W1/W2 buildings. This would be unusual in this building type. - Wall-to-diaphragm connections that (a) rely on cross-grain bending, (b) use strap anchors that twist and connect to the side of the top of purlins, or (c) are other connections with a Tier 2 demand-to-capacity ratio over 1.6. There are examples of collapse and partial collapse of buildings with cross-grain bending details in the 1964 Anchorage, 1971 San Fernando, 1987 Whittier, 1989 Loma Prieta, and 1994 Northridge Earthquakes. Note that buildings with original or retrofit details that do not rely on cross-grain bending, have complete load paths, and have some form of cross ties, but have reasonable wall-to-diaphragm connections that do not meet the full strength demands of ASCE/SEI 41-23 or ASCE/SEI 7-16 could typically be assigned to the Va category. |
| RM2 | Reinforced masonry with rigid diaphragms | The building has an extreme weak story, as defined above for W1/W2 buildings. This would be unusual in this building type. This building type is much less common than RM1 in California. |
| URM | Unreinforced masonry bearing wall buildings with flexible diaphragms | Unretrofitted or partially retrofitted URM. An unretrofitted URM is thought by many to be one definition of an SPR=VI building, so it would be unusual for it to have even received an SPR=V rating after the initial evaluation. There are many examples of URM building collapses in earthquakes around the world and in California. To be eligible for an SPR=V, the retrofit needs to be comprehensive and address the full load path and key structural elements. The building must have been evaluated and retrofit to the Special Procedure or the General Procedure of the ABK, Los Angeles Division 88, UCBC, IEBC; ASCE/SEI 41 Special Procedure for Unreinforced Masonry standard; or a similar standard. Buildings retrofit to lower performance objectives are not eligible for a rating of Va. |
| URMa | Unreinforced masonry bearing wall buildings with rigid diaphragms | Unretrofitted or partially retrofit URM. URMa buildings are much less common in California than URM buildings, but there are examples. Though heavier, URMa buildings are expected to behave somewhat better than URM buildings. It would still be unusual for them to have even received an SPR=V rating after the initial evaluation. |